# Standard Operating Procedure

SOP-101: Change Control

| Document ID: | SOP-101 | Version: | 1.0 |
| --- | --- | --- | --- |
| Effective Date: | YYYY-MM-DD | Review Date: | YYYY-MM-DD |

# 1. Purpose

This procedure establishes the process for managing changes to the XRD-based diagnostic system, ensuring all modifications are reviewed, approved, tested, and documented in compliance with FDA 21 CFR Part 11 and Part 820 requirements.

# 2. Scope

This SOP applies to all changes affecting: software code, documentation, system configuration, database schema, infrastructure, and laboratory procedures.

# 3. Change Control Workflow

Step 1: Initiate Change Request

- Create Change Request in GitHub Issue using FORM-001 template

- Document business justification and impact assessment

- Assign to Development Lead for technical review

Step 2: Technical Review & Approval

- Development Lead reviews technical feasibility

- QA Lead reviews quality and compliance impact

- Quality Manager provides final approval

Step 3: Implementation

- Developer creates feature branch from main

- Implements changes following coding standards

- All commits must reference Change Request number

- Creates Pull Request when ready for review

Step 4: Code Review

- Minimum 2 approvers required (not including author)

- At least 1 approver must be Dev Lead or QA Lead

- CI/CD tests must pass before merge allowed

- All review comments must be resolved

Step 5: Merge & Deploy

- Dev Lead or SRE Lead merges to main branch

- Automated tests run on main branch

- Quality Manager approves production deployment

- SRE Lead executes deployment

Step 6: Verification & Closure

- QA Lead verifies change in production

- Update Change Request with deployment details

- Close Change Request with sign-off

# 4. Critical Requirements

- NO direct commits to main/production branches

- Branch protection MUST be enabled on main

- All changes MUST have traceability to Change Request

- Quality Manager approval required for prod deployment